## Slide 1: How should I manage complex anatomical situations during my TAVI procedures?
Prof. De Backer
Dr. Tchétché
Prof. Abdel-Wahab

## Slide 2: Questions & Answers
Any data regarding the durability of TAVI in patients with BAV?
No. Currently, there are no long-term durability data available on THV/TAVI in bicuspid valves.
ICD? internal ? Diameter
Intercommissural distance (ICD) as measured at 4 mm above the aortic annulus plane.
What is the average learning curve time to successfully perform the technique?
For percutaneous transaxillary TAVI? Any 3-5 cases, as it uses all techniques one is familiar with from TF-TAVI.

## Slide 3: Questions & Answers
If you have an unfavorable anatomy for femoral entry, how much does it increase complications to access via the subclavian (if there is a possibility?) or carotid approach?
There is no increased risk for vascular complications. However, there has been reported an increased risk of neurological thromboembolic events (2% as compared to 1% for TF-TAVI).
What are your precautions when defining the sizing to be handled in a type 0 bicuspid?
Best to follow the normal sizing recommendations based on aortic annular sizing in a bicuspid type 0.

## Slide 4: Questions & Answers
In case of bicuspid which valve do we prefer? Self explandable or baloon expandable?
That depends on the aortic valve anatomy. Self-expanding valves can be a good first-choice due to the supra-annular leaflet position (lower gradient, more circular leaflet expansion --- better durability?).
How is complication in your routine procedure and how you manage?
For percutaneous transaxillary TAVI? Only minimal vascular complications, always manageable with percutaneous techniques (balloon or covered stent, although only <5% of cases)
Does TAVI in BAV has same short-term results and pressure gradient, paravalvular AR as tricuspid AV ?
With the newest-generation devices, nearly similar outcomes with TAVI in BAV vs. TAV. However, bicuspid valves with excessive leaflet calcification and (long) calcified raphe are known to give a higher risk or significant PVL.

## Slide 5: Questions & Answers
What is the approximate calculated duration time of a ViV?
Similar as a regular TAVI. Only in case of coronary protective measurements, the time for coronary wiring +/- BASILICA has to be added (coronary wiring: +10 min, BASILICA: approx. + 20-30 min).
The "peak" of the evolute delivery device has usually been a fear causing dissection in the aortic arch, any precautions?
When crossing the aortic arch, it is always important to 'rail' the Evolut delivery system, i.e. hold tightly/pull slightly back on the stiff guidewire. In case of an acutely angulated arch, a 65cm-long DrySeal sheath can be used.
What are your experiences with transcarotid approach?
Rather good. However, this remains a surgical approach/wound, needing general anesthesia. Also neurological events have been underreported for this approach.

## Slide 6: Questions & Answers
Where do you see the benefit of percutaneous TaxTAVI in comparison to surgical TaxTAVI. We usually do this with a small incision and have 0% complications. Your results are a catastrophe from your surgeons and unbeliveable.
It remains a surgical, more invasive approach with a surgical wound than a percutaneous approach. Also worse bail-out options for the surgical approach. Outcomes are of course depending on the local experience.
TAVI patients are fragile and may not be candidates for General anaesthesia, why surgical cut down, then?
Surigcal cut-down should, to my understanding, always be kept to an absolute minimum (and best be avoided at all, if possible).
Do you inflate de balloon while you are tiening the knot of the proglade?
Steps are in this order:
Tighten both ProGlide knots + use knot-pushers already once,
Insert and deploy the 6Fr AngioSeal,
Inflate the 6-8 mm balloon at the insertion site,
Further optimize the ProGlide knots with the knot-pushers. Done.